## Slide 1: Recent Additions
Outlier rejection
Reduced measurement time
Exponential timepoints
File saving
Real-time Probe & dA

## Slide 2
Main
Heatmap Window
Probe Window
dA Window
Heatmap
Heatmap_Interface
WorkerThread
camera
Exponential_steps
Plot_calculations
IronPython
Signals
Sockets
Start_Popup
Signals
GraphThread

## Slide 3: Heatmap
Heatmap Window
Heatmap
Heatmap_Interface
Exponential_steps
Heatmap Window
  Combining elements
  Updating GUI elements (sliders/lines)
Heatmap
  Heatmap + adjacent graphs
Heatmap_Interface
  Input measurements
Exponential_steps
  Calculations for exponential timesteps
  Evenly spaced up to -1ps
  -1 to 0 = mirrored 0 to 1 ps
  Logarithmic after 1 ps

## Slide 4
Heatmap Window

## Slide 5
Probe Window

## Slide 6
dA Window

## Slide 7: Backend
WorkerThread
  Handling inputs
  Measurement calculations
Camera
  Using camera
Plot_calculations
  dA
  Probe
IronPython
  Moving Delay Stage
WorkerThread
camera
Plot_calculations
IronPython
Sockets

## Slide 8: Sockets
Server & Client
Host & Port
Server listens for client
Code block
Server
Client

## Slide 9
Start Measurement
Main Window (WorkerProcess)
WorkerThread
IronPython
WorkerThread
IronPython
Calcs
List
Next Step
Calcs
GUI
Updates
IronPython
Connection
Code Flow

## Slide 10: Signals
Communication between threads
Emissions
Connections
Main
WorkerThread
Signals

## Slide 11
dA Window:
run_command
Main Interface:
trigger_worker
parsed_content
DLS Window:
run_command
ProbeThread:
Probe_update
dA_update
Camera_gui
Heatmap window
Probe window (DLS)
dA Window
WorkerThread
Main_window
Signal Flow

## Slide 12
Real time probe & dA
At start-up 1000 shots
Adjust shots
Outlier rejection for probe & dA

## Slide 13
✅
❌
✅
Outlier rejection probe
Overall average 104,50
Allowed deviation 5%
Allowed range [94,50-114,95]
Row average
108
115
100
113
✅

## Slide 14
Outlier rejection dA
✅
❌
✅
✅
✅
❌
✅
✅
Overall average 104,50
Allowed deviation 5%
Allowed range [94,50-114,95]
Overall average 104,50
Allowed deviation 5%
Allowed range [94,50-114,95]
Row average
108
115
100
113
Row average
108
113
100
115

## Slide 15
Outlier rejection dA with range
✅
❌
✅
✅
✅
❌
✅
✅
Overall average 109
Allowed deviation 5%
Allowed range [103,55-114,45]
Row average
108
115
100
113
Row average
108
113
100
115

## Slide 17
Heatmap
Upper plot
Lower plot
Heatmap matrix
-Matrix starts as a list with zeros
-After each measurement the matrix is updates in real time
-I have to work on a toggle between current scan and total average

## Slide 18: Things To Add
Measurement time remaining
Scan/all scan average toggle
Wavelength calibration
Anisotropy(?)